## Cover
BILLS OF QUANTITIES
FOR
REPAIRS TO BUILDING 9 THE MUSEUM OF IRON
AT
COALBROOKDALE
FOR
THE IRONBRIDGE GORGE MUSEUM TRUST
11TH APRIL 2024
IWSA Chartered Surveyors
2 Brighton Villas
Walwyn Road
Colwall
WR13 6QG
ian.wilson@iwsa.co.uk
+44 (0) 7798 565635

## Prelims
Project - Repairs to Building 9 The Museum of Iron
Bill No 1 - General and Preliminaries |  |  | Tender Documents
|  |  | Fixed Cost Total £ p | Variable Cost Total £ p
All for complying with all preliminaries and contract requirements as set out in the with Oliver Architecture Preliminaries and General Specification September 2023 Version V.1 26.09.23, Outline Schedule of Work March 2024 Version v1 14.03.24 and as shown on the Drawings
| 1.0 | GENERAL
| 1.1 | Names and Addresses
| 1.1.1 | Employer:
Ironbridge Gorge Museum Trust Coalbrookdale, Telford, Salop. TF8 7DQ Tel: 01952 435900
Contact: Lucy Oldnall, Project Manager- Conserving the Historic Estate E: Lucy.Oldnall@ironbridge.org.uk , Tel: 01952 435970
| 1.1.2 | Architect and Principal Designer: Oliver Architecture Ltd,
The Coffin Works, 13-15 Fleet Street, Jewellery Quarter, Birmingham B3 1JP Tel: 0121 773 5002
Email: conservation@oliver-architecture.co.uk
Contact: Stephen Oliver E: conservation@oliver-architecture.co.uk ,Mob: 07979 191011 Contact: Matt Faber, E: matt@oliver-architecture.co.uk ,Mob: 07713 401218
| 1.1.3 | Structural Engineer: TBC
Frank W. Haywood & Associates
13 Allesley Old Road, Coventry CV5 8BU Tel: 024 7667 8921
Contact: Clive Haywood, Email: clive@fwhaywood.co.uk , Mob: 07967 830173
| 1.2 | Description of the Site
| 1.2.1 | Location of the site: Warehouse & Clocktower (known as Museum of Iron), Coalbrookdale, Shropshire. Is in the care of the Ironbridge Gorge Museum Trust. The Warehouse is within the demise of the, Museum complex at Coalbrookdale, TF8 7DX
| 1.2.2 | Access to the Site: The Warehouse & Clocktower sits within the Coalbrookdale complex. The main visitors’ carpark via Darby Road is to the “North” front of the building. Access for work vehicles and deliveries will be to the Coach park to the to the north-west of the building accessed via the same visitors’ entrance.
| 1.2.3 | Site Visit: The Contractor is recommended to visit the site before tendering and ascertain all local conditions and restrictions likely to affect the execution of the works. No claims arising from failure to do so will be considered. Contact: Lucy Oldnall, Project Manager- Conserving the Historic Estate E: Lucy.Oldnall@ironbridge.org.uk , Tel: 01952 435970
| 1.2.4 | The Museum of Iron also known as Warehouse with Clock Tower is a Grade II* (ref. 1206215) listed structure. It lies within the Ironbridge Gorge, a UNESCO World Heritage Site.
| 1.2.5 | History: In 1709, Abraham Darby I founded The Coalbrookdale Company and incorporated the ingenious technique of smelting iron using coke as fuel. Darby II and Darby III succeed subsequently and expanded the Company over the following years. The construction of Ironbridge in 1779 – the world’s first cast iron bridge was casted at Coalbrookdale, a technical triumph for Darby III and the Coalbrookdale Company.
The Museum of Iron was constructed as a warehouse c.1792 by the Coalbrookdale Company. It is three storeys of brickwork with slated roofs and valley gutters. Window Heads, Cills and Glazing are in cast iron and there are cast iron columns inside. The clock and its cupola were added in 1843, supported on a timber and cast iron framework. There is a single storey extension on the west side, of recent date. The steady decline of the Upper Works during the late c.19th witnessed the Old Furnace put off blast and further development of the Lower Works. The Great Warehouse continued to be in use as workshops whilst the smaller warehouses were gradually demolished. The Ironbridge Gorge Museum Trust acquired the derelict the Warehouse from Glynwed Ltd in 1979. By 1982, the Warehouse was restored with an ‘enormous help’ from the Telford Development Corporation. The Warehouse currently houses the Ironbridge Gorge Museum Trust ‘s Museum of Iron.
| 1.3 | Description of Work
| 1.3.1 | The works comprise: Repairs to the wooden structure of the clocktower. Redecoration of the structure and clockface. Weather proofing behind the pierced panels and replacement of the clocktower base coverings in lead. To the main roof replacement of the disintegrating concrete ridge tiles and vents with lead. Replacement of the valley and parapet gutter linings in Terne coated Stainless Steel, renewing the flashings and weatherings to the rear parapet. The removal of the obsolete M&E support structure enabling better access for maintenance. The over-hauling and redecoration of the Cast Iron Rainwater goods windows heads and cills. Repairs to the glazing and full redecoration of the exterior of the building. Repointing open joints to the brickwork and fully repointing the copings, parapets and wall heads.
| 1.4 | Drawings and Specifications
| 1.4.1 | This Schedule of Works is to be read in conjunction with the specification, Contract, Preliminaries and all tender drawings. See 2315 B09 Warehouse & Clocktower Drawing Register
| 1.4.2 | It will be expected that the contractor has allowed for all elements indicated on the drawings, specification and schedule, as well as having inspected the site prior to returning the tender.
| 1.4.3 | All works are to be undertaken by suitably qualified specialists where applicable with relevant experience in working upon historic buildings.
| 1.4.4. | The main contractor will be responsible for coordinating all relevant domestic and named sub- contractors, and the like, and the associated materials and labour. The Contract Administrator is to be furnished with a suitable programme of work to adequately describe the critical path programming.
The contractor will be expected to keep adequate supervisory personnel on site at all times in the form of a site agent/foreman.
| 1.5 | Form of Contract
| 1.5.1 | The Form of Contract will be the Minor Works Building Contract 2016 (including all current amendments) issued by the Joint Contracts Tribunal. Clauses are to be amended as follows:
1st Recital; Repairs to The Warehouse and Clocktower
2nd Recital:Drawings to be as listed in item 1.4.1 above. 3rd Recital:
3rd Recital: Delete Schedule of Rates
Article 2: Contract sum to be entered.
Article 3: Insert “Oliver Architecture Ltd”.
Article 4: Insert “Oliver Architecture Ltd”.
Article 5: Main contractor’s name to be entered.
Article 7: Arbitration to apply. Contract Particulars.
4th Recital: Base Date: 7 days prior to tender return date.
4th Recital: CIS Scheme: The Employer is not a ‘contractor’.
5th Recital: The project is not notifiable.
6th Recital: Framework Agreement: Not applicable.
7th Recital: Supplementary Provisions: All apply.
7th Recital: Paragraph 6 nominees: Employer – Stephen Oliver.
Contractor – to be advised.
Article 7: Arbitration: Article 7 and Schedule 1 apply.
1.1 CDM Planning Period: 14 days pending on the Date for Commencement
2.2 Date for commencement of works – to be agreed
Date for completion – Oct 2024
2.8 Liquidated damages: at the rate of £500 per week.
2.1 Rectification period, to be 6 months.
4.3 Percentage to be 95%.
4.5 Percentage to be 97½%.
4.8.1 Period to be 3 months.
4.11 and Schedule 2 Contribution, levy and tax charges does not apply. Percentage not applicable.
5.3.2 Contractor’s insurance, to be £5,000,000 (five million).
5.4A, B, C Insurance of the works: Clause 5.4B applies.
5.4B.1.2 Percentage to cover professional fees, to be 15%
7.2 Adjudication, delete all but “Royal Institute of British Architects
Schedule 1 Arbitration, delete all but “Royal Institute of British Architects”.
| 1.5.2 | EXECUTION: the Contract will be executed under hand. FIRM PRICE: the Contract will be completely firm price.
| 1.6 | Temporary Services
| 1.6.1 | Buildings: Assume Site Meetings with the Client and Architect will be held at the IBGMT offices at Coalbrookdale with site visits afterwards.
| 1.6.2 | Water: Water is available within the Warehouse and Clocktower. Assume water for contractors is available from the attached WC block building and will be made available for the use of the contractor. The contractor will be responsible for distribution as required
| 1.6.3 | Power: A power supply is available at the Warehouse and the use of will be extended to the contractor
| 1.6.4 | Lavatories: A temporary WC can be located within the arches to the adjacent coach park.
| 1.6.5 | Parking: Shared parking for contactor’s vehicles is available in the Coach park to the to the north-west of the building. Ensure that the other users of the car park are not unduly inconvenienced, Note the Adjacent car parks are very busy at certain periods in the day especially high season and term time for school visits.
| 1.6.6 | Deliveries: Deliveries to be via Darby Road is to the “North” front of the building. Warehouse & Clocktower, Coalbrookdale, TF8 7DX.
| 1.7 | Photographs
| 1.7.1 | Prior to commencement of the contract, the main Contractor is to take a full set of condition photographs, internally and externally, and issue a set of colour copies, annotated to indicate the date taken and location, to the Architect. It is acceptable to submit a CD of digital photographs with an appropriately referenced list.
| 1.8 | Method Statements
| 1.8.1 | The main Contractor is to provide Method Statements detailing the method of working for the following items:-
· Site set up including deliveries and parking.
· Moving materials around the site itself. Note: public car park and constant access to front of the building.
· Maintaining access to the Museum of Iron and WC’s
| 1.8.2 | Under no circumstances will any work be allowed until Method Statements for all these items have been received, comments made and taken into account. Submission of Method Statements does not relieve the Contractor from any of his contractual obligations.
| 1.9 | Protection
| 1.9.1 | During the course of the contract, temporary protection is to be provided as follows:-
· Dust control measures to prevent excessive dust throughout the site
· Measures to protect the paths, verges and adjacent paved areas.
· Public using the site and accessing the museum and WC’s
| 1.9.2 | The Museum will remain open and in use during the works, the working areas will generally remain open to the public unless it is need to shut the paths for the works to be undertaken. At this point weekend working is not permitted.
| 1.9.3 | Provide for a controlled means of waste disposal. No materials are to be thrown or dropped. Debris to be regularly swept up and removed as soon as it is created.
| 1.10 | Samples
| 1.10.1 | Before ordering or commencing work, provide samples of the following materials/ fittings/ finishes/ workmanship for inspection by the Architect:-
· Lime mortar biscuits (say 3 no.) – assume a 1:2.5 lime: sands and aggregates mix.
· Pointing to be full and flush, just back from the face, and lightly brushed after initial set to expose the aggregate.
· Clay Tiles for the warehouse roof
· Reclaimed Brick
· Proposed Terne coated stainless steel
· Paint samples for windows, doors, metal work,
| 1.11 | Protected Species
| 1.11.1 | There is known Bat, activity on the site . The contractor is to remain vigilant follow the Ecologist Guidelines and advise the Architect immediately on discovery of a protected species.
| 1.12 | Asbestos
| 1.12.1 | There is an asbestos management survey available for the Warehouse and Clocktower, no further sampling has been undertaken. However, it is not exhaustive. An R&D survey will be commissioned ahead of the works on site and the contractor should remain vigilante for any contamination and act accordingly if any suspicion of Asbestos is found within the site.
| 1.13 | Programme
| 1.13 | The works are to take place Spring 2024 to Autumn 2024
| 1.14 | On Completion
The Contractor is to undertake an thorough clean of the site to remove all dust and debris consequent upon the works.
|  |  | 0 | 0
|  |  | Total to Collection £ | 0

## Set Up and Access
Project - Repairs to Building 9 The Museum of Iron
Bill No 2 - Set Up and Access |  |  | Tender Documents
|  |  | Fixed Cost Total £ p | Variable Cost Total £ p
| 2.0 | SET UP & ACCESS
| 2.1 | Allow all preliminaries in connection with the works.
| 2.2 | Note that all abutments between the access scaffold and existing fabric are to have soft padding to prevent damage.
| 2.3 | Erect and maintain an access /scaffold suitable for carrying out the works to the Warehouse and exterior of the Clocktower. Allow for a monitored scaffold alarm system and ensure that the base of any fixed scaffold is clad in min. 4m high steel sheeting (not Heras panels). Remove the ladders at the end of each day.
| 2.4 | Ties into the fabric of the masonry will only be permitted if they into the junction of bed and perpend joints, and as neatly done as possible. Note: in this instance this is the only viable solution make allowance for carefully removing bricks from the façade and fixing into internal brickwork replace brick on the completion.
| 2.5 | Include for any “lifting gear”/hoist required for moving the sections of the clocktower, tiles and materials onto the scaffold include a safe compound away from the public at base of the hoist.
| 2.6 | Allow for an internal support scaffold, back propped from the ground level to fully support the clock tower whilst the structural repairs are undertaken. Allow for it to be fully sheeted and sealed internally to avoid migration of dust and debris to the rest of the museum.
| 2.7 | Strike the scaffolding on completion and make good.
|  |  | 0 | 0
|  |  | Total to Collection £ | 0

## Clock Twr
Project - Repairs to Building 9 The Museum of Iron |  |  | Tender Document
Bill No 3 - Clock Tower
| Description |  | Quantity | Unit | Rate | Total £ p | Comments
Contractor are responsible for identifying all items and quantities. Any quantities are given as guidance only.
Contractors are to include for removal of all materials off site, unless specifically requested not to do so, and sustainably disposal at a registered Local Authority tip in accordance with the Site Waste Management Plan Regulations 2008
Contractors are to note that the sizes hereunder stated are indicative only and they should allow for checking and establishing actual dimensions by measuring on site. No adjustments to prices will be allowed should measurements vary from those dimensions stated.
Contractors are to note that the latest drawing revisions issued with the tender have been used, even though drawing revision references are not stated hereunder.
| 3.0 | CLOCKTOWER:
3.1 The Clocktower displays signs of rotting structure due to water ingress around the polycarbonate sheets behind the pierced panels. Currently as access to the clock tower is restricted, information on the exact condition, detailing and methods of construction is limited. As such we have allowed a series of provisional sums to be set against the repair items.
| 3.1 | The Clocktower displays signs of rotting structure due to water ingress around the polycarbonate sheets behind the pierced panels. Currently as access to the clock tower is restricted, information on the exact condition, detailing and methods of construction is limited. As such we have allowed a series of provisional sums to be set against the repair items. | 1 | Item |  | 0
| 3.2 | Allow for dismantling the pierced panels to the lower half of the clocktower (presently held in place by modern cross head screws) and remove current polycarbonate glazing and frame behind to enable the structural repairs. | 1 | Item |  | 0
| 3.3 | Allow here for replacing the previous splice repairs (now rotting) to the structure (include an additional 20% on the areas shown for further rot) and strengthening the structure in accordance with the structural engineers’ details. PROV SUM £10,000.00 | 1 | Item |  | 0
| 3.4 | On Completion of the Structural repairs include for replacing the polycarbonate sheets in 6mm toughened glass set within a stainless steel “Crittall” type window frame profile to be W20 or similarly thin approved. | 1 | Item |  | 0
| 3.5 | To base of the clocktower (covered in lead and tile hanging) allow for stripping all lead and tiles. Reimburse the client with the scrap value of the lead and set aside tiles for repairs elsewhere on the building. | 1 | Item |  | 0
| 3.6 | For Tender purposes, allow for supply and installation of 4sqm of new substrate in preservative treated softwood in isolated areas. Allow for 150x25mm Baltic softwood boarding, in order to lay the new lead roof covering upon. Install boards with penny gaps between to aid ventilation. | 4 | m2 |  | 0
| 3.7 | Install new lead covering to the Clocktower base, include for all vertical surfaces previously hidden by tile hanging. allowing for adequate over laps at the ends and fascia of the lantern in accordance with the architects’ drawings. Cover the boards with bitumen building paper prior to installation of passivated (chalk emulsion) lead sheets with batten roll details. Ensure all Lead is laid in accordance with the Lead Sheet Association details. Note: Detailing around the structure to be establish on site once the scaffold access is in place. Include a PROV SUM of £1500.00 for additional detail works. | 1 | Item |  | 0
| 3.8 | To upper sections (roof above clock faces and weathering below) of The Clocktower. Allow for redressing the lead coverings maintaining the scalloped edges and welted drips. Include for repairing any splits or holes by way of cutting out sections and installing new with welted edges onto the existing. PROV SUM £3,000.00 | 1 | Item |  | 0
| 3.9 | Allow for re-gilding all 4no clock faces and the cast iron ball finial to the top. Clean, including removing paints splashes with chemical strippers maintaining the patina to each individual item treat any corrosion products and allow for re-gilding in 23.5 carat gold leaf by suitably accredited specialist. | 1 | Item |  | 0
| 3.10 | Allow existing clock mechanism to be inspected cleaned and maintained by a suitable Accredited specialist PROV SUM £3,500.00 | 1 | Item |  | 0
| 3.11 | Carefully take down any elements (as the pierced panels) that obscure the structure behind for cleaning and redecoration. Reassemble on completion of the works and redecoration. Note: allow for re-fixing with appropriately sized non-ferrous slot head screws replacing the present cross heads. | 1 | Item |  | 0
| 3.12 | Allow for fully preparing, treating corrosion products and redecorate all Cast Iron elements and clock faces in appropriate CHE General Specification v.2 p77 Metal Ferrous (not galvanised) (A) Modern vinyl-based paint with the no. of coats in accordance with the specification. Note: Colours TBC | 1 | Item |  | 0
| 3.13 | Allow for full preparing the wooden frames and lower wood cladding below the leaded base of the Clocktower, and redecorating both internally and externally in the high gloss https://dacrylate.co.uk/products/product-range/alkysil/ with appropriate https://dacrylate.co.uk/products/product-range/alkysil-uc/ undercoat and oil based primer. CHE General Specification v.2 p77 Timber (new & previously painted) D. Note: Colours TBC | 1 | Item |  | 0
SUNDRIES
Samples
Samples to be submitted for approval
3.6 |  | generally | 1 | Item |  | 0
CDM Notes
Allow for complying with CDM requirements, all as per the Specification
3.7 |  | Risks - Working at height, Public access | 1 | Item |  | 0
Other Work not described above
Allow for all other work not described previously, but deemed necessary as determined from the Drawings and the Site Conditions
3.8 |  | generally | 1 | Item |  | 0
|  | Bill No 3 Lantern Long Warehouse - To Summary |  |  | £ | 0

## Roofs
Project - Repairs to Building 9 The Museum of Iron |  |  | Tender Document
Bill No 4 - Roofs
| Description |  | Quantity | Unit | Rate | Total £ p | Comments
Contractor are responsible for identifying all items and quantities. Any quantities are given as guidance only.
Contractors are to include for removal of all materials off site, unless specifically requested not to do so, and sustainably disposal at a registered Local Authority tip in accordance with the Site Waste Management Plan Regulations 2008
Contractors are to note that the sizes hereunder stated are indicative only and they should allow for checking and establishing actual dimensions by measuring on site. No adjustments to prices will be allowed should measurements vary from those dimensions stated.
Contractors are to note that the latest drawing revisions issued with the tender have been used, even though drawing revision references are not stated hereunder.
| 4 | ROOFS:
| 4.1 | To allow better access to central valley gutters carefully strip out existing redundant M&E frame Retaining the two end sections supporting the Air Conditioning units. | 1 | Item |  | 0
| 4.2 | Allow for stripping back the existing 4 no courses of the clay tiles to allow installation of new Terne Coated Stainless-Steel gutters to both parapets and both valley gutters. Also strip back tiles to the abutments with the gable parapets to allow for installing new lead soakers. | 1 | Item |  | 0
| 4.3 | Replace small tile roofs either side of clocktower in stainless-steel Supply and install new boarding to take the s/steel covering, in preservative treated softwood, assuming 25mm thick penny gap jointed boarding and firrings. Include for roll details as per gutters between sheets. | 1 | Item |  | 0
| 4.4 | Include for 5sqm of replacements to cover breakages in Dreadnought Staffordshire Blue/Heather Sand-faced Blend Machine-made tiles. The tiles are to be as detailed on the contract drawings or schedule of works. Provide several samples of each tile type (showing the range of size and appearance that will be supplied) for architect’s approval. | 5 | m2 |  | 0
| 4.5 | To all 5 No Gutters: Supply and install new substrate for the new gutter lining, in preservative treated softwood, assuming 25mm thick penny jointed gutter boarding and firrings. For pricing purposes, assume that the gutter is to be in 8 sections with a 70mm steps laid at 1 in 80 falls. Falling toward the 4no existing outlets. Allow for 60mm bossed wood-cored rolls to high points. The lowest point to the valley gutters is to have a 150mm Sumps to discharge into 2 no Terne Coated Stainless Steel overflow chutes. While the parapet gutters are to discharge into internal downpipes allow for a robust connection to the existing cast iron downpipes and include for balloon type stainless steel mesh debris catcher over the outlets. | 76 | m |  | 0
| 4.6 | Line the gutter in metal roofing underlay (such as Klober Permosec Metal, Dupont Tyvek Metal or Powerlon Metalix SA) and 0.4mm terne coated stainless steel sheeting. Ensure all stainless steel is laid in accordance with the Federation of Traditional Metal Roofing | 76 | m |  | 0
Contractors UK Guide to Good Practice in Fully Supported Metal Roof and Cladding 3rd edition. Include for a welted top edge to the side roofs under the tiling, to prevent capillary action. Include for lining the gutter ends in TSS.
| 4.7 | On completion of the gutters. Refix tiles in place allow for replacing the existing concrete vents with 46 no lead square roof void vents by leadworx or similar approved set in the existing positions. | 1 | Item |  | 0
| 4.8 | Take off decaying concrete ridge tiles and replace with lead roll ridges. As indicated on roof plan. Include for a copper strip along edges of lead ridge to reduce the build-up of moss on the tiles below. | 58 | m |  | 0
| 4.9 | Allow for replacing all existing lead flashings to junction of clocktower and roofs, gable abutments and parapet walls in code 6 lead. Include here to replace lead gutter to both north and south sides of the clocktower. | 1 | Item |  | 0
| 4.10 | Allow for removing the plastic sheet covers and replacing all vent caps in code 5 lead as indicated on roof plan | 1 | Item |  | 0
| 4.11 | Replace all 7no existing wooden access ladders with stainless steel powder coated to blend in with the roofs. | 1 | Item |  | 0
| 4.12 | Internally replace defective /missing ceiling panels below internal downpipes and make good decoration. | 1 | Item |  | 0
SUNDRIES
Samples
Samples to be submitted for approval
4.11 |  | generally | 1 | Item |  | 0
CDM Notes
Allow for complying with CDM requirements, all as per the Specification
4.12 |  | Risks - Working at height, Public access | 1 | Item |  | 0
Other Work not described above
Allow for all other work not described previously, but deemed necessary as determined from the Drawings and the Site Conditions
4.13 |  | generally | 1 | Item |  | 0
|  | Bill No 4 Lower Roofs - To Summary |  |  | £ | 0

## Walls
Project - Repairs to Building 9 The Museum of Iron |  |  | Tender Document
Bill No 5 - Walls
| Description |  | Quantity | Unit | Rate | Total £ p | Comments
Contractor are responsible for identifying all items and quantities. Any quantities are given as guidance only.
Contractors are to include for removal of all materials off site, unless specifically requested not to do so, and sustainably disposal at a registered Local Authority tip in accordance with the Site Waste Management Plan Regulations 2008
Contractors are to note that the sizes hereunder stated are indicative only and they should allow for checking and establishing actual dimensions by measuring on site. No adjustments to prices will be allowed should measurements vary from those dimensions stated.
Contractors are to note that the latest drawing revisions issued with the tender have been used, even though drawing revision references are not stated hereunder.
| 5.0 | WALLS
| 5.1 | Remove all vegetation and moss from brickwork indicated on Drawings. Remove /and treat roots with the approved biocide.
| 5.2 | To rear parapet: Carefully cut out defective joints indicated on Drawings and 100% repoint in matching C1-d Lime mortar. Allow for repointing 18 courses below the copings (down to window heads) on the outside and to gutter lining on the inner face of the parapet | 88 | m |  | 0
| 5.3 | Carefully cut out areas of defective joints indicated on Drawings and repoint in matching C1- d Lime mortar. | 1 | Item |  | 0
| 5.4 | Replace defective bricks indicated on the drawings in the approved C1-d Lime mortar. Note brick replacements to be in matching reclaimed. | 1 | Item |  | 0
SUNDRIES
Samples
Samples to be submitted for approval
5.6 |  | generally | 1 | Item |  | 0
CDM Notes
Allow for complying with CDM requirements, all as per the Specification
5.7 |  | Risks - Working at height, Lead hot works, Public access | 1 | Item |  | 0
Other Work not described above
Allow for all other work not described previously, but deemed necessary as determined from the Drawings and the Site Conditions
5.8 |  | generally | 1 | Item |  | 0
|  | Bill No 5 Walls - To Summary |  |  | £ | 0

## Wndws and Doors
Project - Repairs to Building 9 The Museum of Iron |  |  | Tender Document
Bill No 6 - Windows and Doors
| Description |  | Quantity | Unit | Rate | Total £ p | Comments
Contractor are responsible for identifying all items and quantities. Any quantities are given as guidance only.
Contractors are to include for removal of all materials off site, unless specifically requested not to do so, and sustainably disposal at a registered Local Authority tip in accordance with the Site Waste Management Plan Regulations 2008
Contractors are to note that the sizes hereunder stated are indicative only and they should allow for checking and establishing actual dimensions by measuring on site. No adjustments to prices will be allowed should measurements vary from those dimensions stated.
Contractors are to note that the latest drawing revisions issued with the tender have been used, even though drawing revision references are not stated hereunder.
| 6.0 | WINDOWS & DOORS
| 6.1 | Prepare Cast Iron windows prior to redecoration, replace putty where necessary and allow for redecoration of all Cast Iron windows in appropriate CHE General Specification v.2 p77 Metal Ferrous (not galvanised) (A) Modern vinyl-based paint with the no. of coats in accordance with the specification. Ensure correct operation of all opening lights and ventilators on completion. | 145 | m2 |  | 0
| 6.2 | Allow for fully preparing the wooden Doors, overhauling to allow correct operation, redecorating in the high gloss https://dacrylate.co.uk/products/product-range/alkysil/ with appropriate https://dacrylate.co.uk/products/product-range/alkysil-uc/ undercoat and oil based primer. CHE General Specification v.2 p77 Timber (new & previously painted) D. | 42 | m2 |  | 0
SUNDRIES
Samples
Samples to be submitted for approval
6.4 |  | generally | 1 | Item |  | 0
CDM Notes
Allow for complying with CDM requirements, all as per the Specification
6.5 |  | Risks - Movement of plant, working on an incline, Public access | 1 | Item |  | 0
Other Work not described above
Allow for all other Roofs work not described previously, but deemed necessary as determined from the Drawings and the Site Conditions
6.6 |  | generally | 1 | Item |  | 0
|  | Bill No 6 Windows and Doors - To Summary |  |  | £ | 0

## Rainwater Gds
Project - Repairs to Building 9 The Museum of Iron |  |  | Tender Document
Bill No 7 - Rainwater Goods
| Description |  | Quantity | Unit | Rate | Total £ p | Comments
Contractor are responsible for identifying all items and quantities. Any quantities are given as guidance only.
Contractors are to include for removal of all materials off site, unless specifically requested not to do so, and sustainably disposal at a registered Local Authority tip in accordance with the Site Waste Management Plan Regulations 2008
Contractors are to note that the sizes hereunder stated are indicative only and they should allow for checking and establishing actual dimensions by measuring on site. No adjustments to prices will be allowed should measurements vary from those dimensions stated.
Contractors are to note that the latest drawing revisions issued with the tender have been used, even though drawing revision references are not stated hereunder.
| 7.0 | RAIN WATER GOODS AND GENERAL METAL WORK
| 7.1 | Remove, overhaul and redecorate all Rainwater goods and downpipes in accordance with specification CHE General Specification v.2 p77 Metal Ferrous (not galvanised) (A) Modern vinyl-based paint with the no. of coats in accordance with the specification. Refix on completion with new oak bobbins allowing for appropriate Pipe Nails. | 16 | m |  | 0
| 7.2 | Cast Iron, Beams and Support structure: Overhaul and redecorate all Cast Iron in appropriate CHE General Specification v.2 p77 Metal Ferrous (not galvanised) (A) Modern vinyl-based paint with the no. of coats in accordance with the specification. | 1 | Item |  | 0
|  | Overhaul and redecorate all Cast Iron air vents in appropriate CHE General Specification v.2 p77 Metal Ferrous (not galvanised) (A) Modern vinyl-based paint with the no. of coats in accordance with the specification. Include for undercoat and top coat as specified. Ensure all are clear and functioning | 1 | Item |  | 0
SUNDRIES
Samples
Samples to be submitted for approval
7.4 |  | generally | 1 | Item |  | 0
CDM Notes
Allow for complying with CDM requirements, all as per the Specification
7.5 |  | Risks - Movement of plant, working on an incline, Public access | 1 | Item |  | 0
Other Work not described above
Allow for all other Roofs work not described previously, but deemed necessary as determined from the Drawings and the Site Conditions
7.4 |  | generally | 1 | Item |  | 0
|  | Bill No 7 Rainwater Goods - To Summary |  |  | £ | 0

## WC Roof
Project - Repairs to Building 9 The Museum of Iron |  |  | Tender Document
Bill No 8 - WC Roof
| Description |  | Quantity | Unit | Rate | Total £ p | Comments
Contractor are responsible for identifying all items and quantities. Any quantities are given as guidance only.
Contractors are to include for removal of all materials off site, unless specifically requested not to do so, and sustainably disposal at a registered Local Authority tip in accordance with the Site Waste Management Plan Regulations 2008
Contractors are to note that the sizes hereunder stated are indicative only and they should allow for checking and establishing actual dimensions by measuring on site. No adjustments to prices will be allowed should measurements vary from those dimensions stated.
Contractors are to note that the latest drawing revisions issued with the tender have been used, even though drawing revision references are not stated hereunder.
| 8.0 | WC BLOCK: ROOF
| 8.1 | Note: asphalt roof to WC block has minimal falls and has been patched repaired in the past. Given the works was carried out in the 1980s the existing roof covering is likely to be coming to the end of its lifespan.
| 8.2 | Failing Asphalt Roofs: Overboard existing Asphalt with new cold applied Bitumen polymer roof system as per IKO specification sr-pol-0024680 include for the overboarding to maintain the correct falls. | 70 | m2 |  | 0
| 8.3 | Replace all flashings in code 5 lead to suit new asphalt roof. | 65 | m |  | 0
SUNDRIES
Bats preservation
A Bat Inspection Survey has identified a negligible potential for roosting bats, however, should any evidence of bats be found, such as bats (dead or alive) or droppings, then works should cease immediately while a suitably qualified ecologist is contacted for advice.
#REF! |  | generally | 1 | Item |  | 0
Samples
Samples to be submitted for approval
#REF! |  | generally | 1 | Item |  | 0
CDM Notes
Allow for complying with CDM requirements, all as per the Specification
#REF! |  | Risks - Movement of plant, working on an incline, Public access | 1 | Item |  | 0
Other Work not described above
Allow for all other Roofs work not described previously, but deemed necessary as determined from the Drawings and the Site Conditions
#REF! |  | generally | 1 | Item |  | 0
|  | Bill No 8 North Lights Roof - To Summary |  |  | £ | 0

## WC Walls
Project - Repairs to Building 9 The Museum of Iron |  |  | Tender Document
Bill No 9 - WC Wall
| Description |  | Quantity | Unit | Rate | Total £ p | Comments
Contractor are responsible for identifying all items and quantities. Any quantities are given as guidance only.
Contractors are to include for removal of all materials off site, unless specifically requested not to do so, and sustainably disposal at a registered Local Authority tip in accordance with the Site Waste Management Plan Regulations 2008
Contractors are to note that the sizes hereunder stated are indicative only and they should allow for checking and establishing actual dimensions by measuring on site. No adjustments to prices will be allowed should measurements vary from those dimensions stated.
Contractors are to note that the latest drawing revisions issued with the tender have been used, even though drawing revision references are not stated hereunder.
| 9.0 | WC BLOCK:WALLS
| 9.1 | Remove all vegetation and moss from brickwork indicated on Drawings. Remove /and treat roots with the approved biocide. Ivy to be cut off at stem and as well as biocide treatment include for hammering copper nails into the root stock to avoid recolonization. | 1 | Item |  | 0
| 9.2 | To copings: Carefully cut out defective joints indicated on Drawings and repoint in matching C1-d Lime mortar. Allow for repointing below the copings as demonstrated on the drawings. | 45 | m |  | 0
| 9.3 | Carefully cut out areas of defective joints indicated on Drawings and repoint in matching C1- d Lime mortar. | 1 | Item |  | 0
| 9.4 | Remove, overhaul and redecorate all Rainwater goods and downpipes in accordance with specification CHE General Specification v.2 p77 Metal Ferrous (not galvanised) (A) Modern vinyl-based paint with the no. of coats in accordance with the specification. Refix on completion with new oak bobbins allowing for appropriate Pipe Nails. | 1 | Item |  | 0
| 9.5 | All attached metal work (in relic state to be treated with Jenolite rust inhibitor and linseed oil applied. | 1 | Item |  | 0
| 9.6 | Allow for fully preparing the wooden Doors, overhauling to allow correct operation, redecorating in the high gloss https://dacrylate.co.uk/products/product-range/alkysil/ with appropriate https://dacrylate.co.uk/products/product-range/alkysil-uc/ undercoat and oil based primer. CHE General Specification v.2 p77 Timber (new & previously painted) D. | 16 | m2 |  | 0
SUNDRIES
Bats preservation
A Bat Inspection Survey has identified a negligible potential for roosting bats, however, should any evidence of bats be found, such as bats (dead or alive) or droppings, then works should cease immediately while a suitably qualified ecologist is contacted for advice.
#REF! |  | generally | 1 | Item |  | 0
Samples
Samples to be submitted for approval
#REF! |  | generally | 1 | Item |  | 0
CDM Notes
Allow for complying with CDM requirements, all as per the Specification
#REF! |  | Risks - Movement of plant, working on an incline, Public access | 1 | Item |  | 0
Other Work not described above
Allow for all other Roofs work not described previously, but deemed necessary as determined from the Drawings and the Site Conditions
#REF! |  | generally | 1 | Item |  | 0
|  | Bill No 9 North Lights Roof - To Summary |  |  | £ | 0

## PS Bill
Tender Document
Bill No 10 Provisional Sums
| Description | Quantity | Unit | Rate | Total £ p | Comments
Provisional Sums
Note
An item has been allowed against each provisional
sum for the Contractor to put his required overhead,
profit and discount percentage to be applied against
the net cost of any sub-contract quotation . The
percentage addition should be extended to the cash
column, totalled and form part of the overall tender
sum. If no percentage is included the Contractor will
receive no overhead, profit and discount upon
expenditure of the provisional sum.
Items that can be adjusted using rates from the Bills of Quantities
will not be subject to the percentage addition.
Include the following Provisional Sums for Defined Work
1 | Additional pointing | 1 | P Sum | 1000 | 1000
0
2 | Extra; main contractors overheads, profit and discount |  | % |  | 0
0
3 | Timber repairs to roof structure | 1 | P Sum | 1500 | 1500
0
4 | Extra; main contractors overheads, profit and discount |  | % |  | 0
0
5 | Additional leadwork | 1 | P Sum | 1000 | 1000
0
6 | Extra; main contractors overheads, profit and discount |  | % |  | 0
7 | Additional decorations | 1 | P Sum | 3000 | 3000
0
8 | Extra; main contractors overheads, profit and discount |  | % |  | 0
| Include the following Provisional Sums for Undefined Work |  |  |  | 0
0
9 | Contingency | 1 | P Sum | 20000 | 20000
0
0
| Dayworks |  |  |  | 0
0
| Note |  |  |  | 0
0
| This schedule relates to works to be valued by |  |  |  | 0
| dayworks as defined in the "Definition of Prime Cost |  |  |  | 0
| of Daywork to be Carried Out Under a Building |  |  |  | 0
| Contract" published by the RICS |  |  |  | 0
0
| Daywork Labour |  |  |  | 0
0
| The Contractor is to allow for all costs in connection with |  |  |  | 0
| the employment of the following trades. This is to include |  |  |  | 0
| for all incidental costs, overheads and profit as defined in |  |  |  | 0
| Section 6 of Definition of Prime Cost of Daywork to be |  |  |  | 0
| Carried out Under a Building Contract |  |  |  | 0
0
10 | Bricklayer | 15 | Hr |  | 0
0
11 | Stoneworker/Mason | 15 | Hr |  | 0
0
12 | Painter and decorator | 15 | Hr |  | 0
0
13 | Scaffolder | 15 | Hr |  | 0
0
14 | Carpenter/Joiner | 15 | Hr |  | 0
0
15 | General unskilled labourer | 15 | Hr |  | 0
0
0
| Dayworks materials and goods |  |  |  | 0
0
| General building works |  |  |  | 0
0
16 | Include the provisional sum of £500 for the prime |  |  |  | 0
| cost of materials and goods as defined in Section 4 |  |  |  | 0
| of Definition of Prime Cost of Daywork to be carried |  |  |  | 0
| out Under a Building Contract | 1 | PS | 500 | 500
0
17 | Add percentage for incidental costs, overheads |  |  |  | 0
| and profit as defined in Section 6 of Definition of |  |  |  | 0
| Prime Cost of Daywork to be Carried Out Under |  |  |  | 0
| a Building Contract |  | % | 0% | 0
0
| Daywork Plant |  |  |  | 0
0
| General building works |  |  |  | 0
0
18 | Include the provisional sum of £500 for the prime |  |  |  | 0
| cost of plant as defined in Section 5 of Definition of |  |  |  | 0
| Prime Cost of Daywork to be carried out Under a |  |  |  | 0
| Building Contract and calculated in accordance with |  |  |  | 0
| the "Schedule of Basic Plant Charges" Revised 1st |  |  |  | 0
| May 2001 | 1 | PS | 500 | 500
0
19 | Add percentage for incidental costs, overheads |  |  |  | 0
| and profit as defined in Section 6 of Definition of |  |  |  | 0
| Prime Cost of Daywork to be Carried Out Under |  |  |  | 0
| a Building Contract |  | % | 0% | 0
0
| Provisional Sums - to Main Summary |  |  |  | 27500

## Main Summary
Project - Repairs to Building 9 The Museum of Iron |  |  | Tender Document
Main Summary
| Description |  | Total
| Bill No 1 - Preliminaries |  | 0
| Bill No 2 - Set Up and Access |  | 0
| Bill No 3 - Clock Tower |  | 0
| Bill No 4 - Roofs |  | 0
| Bill No 5 - Walls |  | 0
| Bill No 6 - Windows and Doors |  | 0
| Bill No 7 - Rainwater Goods |  | 0
| Bill No 8 - WC Roof |  | 0
| Bill No 9 - WC Wall |  | 0
| Bill No 10 Provisional Sums |  | 27500
|  | MAIN SUMMARY - to FORM OF TENDER | 0

## Form of Tender
REPAIRS TO BUILDING 9 THE MUSEUM OF IRON
FORM OF FIRM PRICE TENDER
FOR: | Repairs
AT: | Coalbrookdale
Dear Sir/Madam,
We are willing to Contract for and perform the whole of the work specified in the execution of the above works in accordance with the tender documentation prepared by, under the supervision of, and to the entire satisfaction of the CA
sum of £ ­­­­­ _ _(Excluding VAT)
(in words) _______________________________________________________________
__________________________________________________________________________(Excluding VAT)
The works will be completed within ______ weeks (the contract period), excluding any extensions of time for additional or unforeseen works instructed by the CA.
This sum includes all sums stated in the tender documentation.
We confirm our agreement that should our offer be of interest to the Employer that the preliminaries costs, lump sum prices, on-costs on sub-contractors, measured work rates and programme as submitted (including any agreed post tender adjustment) will form the basis upon which the Contract Sum will be agreed.
We also undertake to enter into a Formal Contract described in the Preliminaries document and we hereby agree that unless such a Contract is executed, the said documentation and the tender, together with the Acceptance thereof in writing under the hand of the Employer shall be the Contract.
We agree that this Tender shall remain open to be accepted or not and shall not be withdrawn for a period of twelve weeks from the date thereof.
Signature ______________________________________________
Position _________________________________________
Company:________________________________________
Address: ________________________________________
________________________________________